## Student
Determine total annual energy cost for all properties combined (see pages 38-42 in your text)
Assume: Bulgaria uses the UK model.
| GBP/Euro |  | 0.8612 |  | GBP/Euro
| Hotel Chain in 3 Locations (number of properties in each location) |  |  |  |  | Margate |  |  |  | Elemental Charge | Calculation | Cost (£)
| 4 | Margate, Uk properties |  |  |  | Month | Electricity peak units (kVAh) | Electricity off-peak units (kVAh) | Monthly maximum demand (kVA) | Monthly Standing Charge | x 12
| 3 | Nessebar, Bulgaria properties |  |  |  | January | 245432 | 59657 | 627 | Supply Availability Charge | kVA@ £1.40 per kVA x 12
| 1 | Pamporova, Bulgaria properties |  |  |  | February | 233160 | 51902 | 585 | Maximum Demand Charges
[6 empty] | March | 213526 | 45936 | 504 | December | kVA @ £5.40
| Declared Maximum Supply Capacity |  |  |  |  | April | 206163 | 41760 | 499 | January | kVA @ £5.40
| Margate, Uk properties |  |  | 675 | kW | May | 188983 | 38777 | 452 | November | kVA @ £2.70
| Nessebar, Bulgaria properties |  |  | 350 | kW | June | 179165 | 33408 | 404 | February | kVA @ £2.70
| Pamporova, Bulgaria properties |  |  | 425 | kW | July | 164439 | 23863 | 387 | Energy Charges
[6 empty] | August | 154622 | 25653 | 394 | Peak Rate | @ 6.15 p/kVAh
[6 empty] | September | 184074 | 29829 | 434 | Off-Peak | @ 2.65p/kVAh
[6 empty] | October | 198800 | 35794 | 479 |  | Annual Electricity Cost
| United Kingdom |  |  | Tariff |  | November | 213526 | 40567 | 515 | Average Unit Price of Electricity
| 1. Monthly charge |  |  | £32 |  | December | 233160 | 49515 | 660 |  | Annual Electricity Cost for Margate =
| 2. Supply availability charge per month for each kVA of chargeable supply capacity |  |  | £1.4 |  | Total |  |  | n.a.
3. Maximum demand charge per month for each kVA of monthly maximum demand in the months of:
|  | December and January |  | £5.4 |  | Nessebar |  |  |  | Elemental Charge | Calculation | Cost (€)
|  | November and February |  | £2.7 |  | Month | Electricity peak units (kVAh) | Electricity off-peak units (kVAh) | Monthly maximum demand (kVA) | Monthly Standing Charge | x 12
| 4. Unit charges for maximum demand tariffs (p/kVAh) |  |  |  |  | January | 49086 | 8949 | 110 | Supply Availability Charge | kVA @ €1.7069 x 12
|  | For each unit supplied |  |  |  | February | 46632 | 8304 | 105 | Maximum Demand Charges
|  | For each unit supplied between 00.330 and 07.30 each night |  | 2.65p |  | March | 42705 | 8268 | 96 | December | kVA @ €6.27
| 5. Winter unit charges (p/kVAh) (November to March inclusive) |  |  |  |  | April | 41233 | 8352 | 100 | January | kVA @ €6.27
|  | (i) For each unit supplied between 16.00 and 19.00 hours each day on Mondays to Fridays inclusive during |  |  |  | May | 94491 | 19389 | 226 | November | kVA @ €3.14
|  | (a) December and January |  | 30.50p |  | June | 107499 | 21715 | 252 | February | kVA @ €3.14
|  | (b) November and February |  | 17.60p |  | July | 115108 | 17897 | 280 | Energy Charges
|  | (ii) For each unit supplied between 08.30 and 20.00 hours each day on Mondays to Fridays inclusive during the months of December to February inclusive, other than charged at rates (i) (a) or (b) above |  | 7.45p |  | August | 123698 | 21805 | 325 | Peak Rate | @ 6.78 p/kVAh
|  | (iii) For other winter day units supplied between 07.30 and 00.30 hours |  | 5.30p |  | September | 110444 | 19389 | 271 | Off-Peak | @ 2.92 p/kVAh
|  | (iv) For winter night units supplied between 00.30 and 07.30 hours |  | 2.65p |  | October | 79520 | 12170 | 177 |  | Annual Electricity Cost
| 6. Summer unit charges (p/kVAh) (April to October inclusive) |  |  |  |  | November | 64058 | 10142 | 142 | Average Unit Price of Electricity
|  | (i) For each summer day units supplied between 07.30 and 00.30 hours |  | 4.51p |  | December | 46632 | 7427 | 115 |  | Annual Electricity Cost for Pamporovo =
|  | (ii) For summer night units supplied between 00.30 and 07.30 hours |  | 1.19p |  | Total |  |  | n.a.
[6 empty] | Pamporovo |  |  |  | Elemental Charge | Calculation | Cost (€)
| Bulgaria |  |  | Tariff |  | Month | Electricity peak units (kVAh) | Electricity off-peak units (kVAh) | Monthly maximum demand (kVA) | Monthly Standing Charge | x 12
| 1. Monthly charge |  |  | 39.0153 |  | January | 177938 | 41760 | 408 | Supply Availability Charge | kVA @ €1.7069 x 12
| 2. Supply availability charge per month for each kVA of chargeable supply capacity |  |  | 1.7069 |  | February | 192357 | 41521 | 302 | Maximum Demand Charges
| 3. Maximum demand charge per month for each kVA of monthly maximum demand in the months of: |  |  |  |  | March | 133454 | 27562 | 252 | December | kVA @ €6.27
|  | December and January |  | 6.27p |  | April | 76280 | 16704 | 200 | January | kVA @ €6.27
|  | November and February |  | 3.14p |  | May | 51970 | 11633 | 90 | November | kVA @ €3.14
| 4. Unit charges for maximum demand tariffs (p/kVAh) |  |  |  |  | June | 31354 | 6682 | 89 | February | kVA @ €3.14
|  | For each unit supplied |  |  |  | July | 28777 | 4773 | 97 | Energy Charges
|  | For each unit supplied between 00.330 and 07.30 each night |  | 2.92p |  | August | 27832 | 5131 | 118 | Peak Rate | kVAh @ 6.78 p/kVAh
| 5. Winter unit charges (p/kVAh) (November to March inclusive) |  |  |  |  | September | 34974 | 5966 | 78 | Off-Peak | kVAh @ 2.92 p/kVAh
|  | (i) For each unit supplied between 16.00 and 19.00 hours each day on Mondays to Fridays inclusive during |  |  |  | October | 39760 | 7159 | 96 |  | Annual Electricity Cost
|  | (a) December and January |  | 33.64p |  | November | 106763 | 20283 | 257 | Average Unit Price of Electricity
|  | (b) November and February |  | 19.41p |  | December | 145725 | 29709 | 429 |  | Annual Electricity Cost for Pamporovo =
|  | (ii) For each unit supplied between 08.30 and 20.00 hours each day on Mondays to Fridays inclusive during the months of December to February inclusive, other than charged at rates (i) (a) or (b) above |  | 8.22p |  | Total |  |  | n.a
|  | (iii) For other winter day units supplied between 07.30 and 00.30 hours |  | 5.85p
|  | (iv) For winter night units supplied between 00.30 and 07.30 hours |  | 2.92p
| 6. Summer unit charges (p/kVAh) (April to October inclusive) | [9 empty] | Annual Cost for Margate (in GBP)=
|  | (i) For each summer day units supplied between 07.30 and 00.30 hours |  | 4.45p | [6 empty] | Annual Cost for Nessebar (in GBP)=
|  | (ii) For summer night units supplied between 00.30 and 07.30 hours |  | 1.18p | [6 empty] | Annual Cost for Pamporovo (in GBP)=
Total Annual Cost for All Units =