in partnership with

CPC40110 Certificate IV in Building and
Construction (Building)

CPC50210 Diploma of Building and
Construction (Building)

CPCCBC4010B Apply structural principles to residential low-rise constructions

Project 5

Student name: XXXXXX

Student number: XXXXXX

Assessment: 32636/02

All terms mentioned in this text that are known to be trademarks or service marks have been appropriately capitalised. Use of a term in this text should not be regarded as affecting the validity of any trademark or service mark.

© Open Colleges Pty Ltd, 2015

All rights reserved. No part of the material protected by this copyright may be reproduced or utilised in any form or by any means, electronic or mechanical, including photocopying, recording, or by any information storage and retrieval system, without permission in writing from the copyright owner.

Printed in Australia

## Assessment submission

To help Open Colleges manage your assessment, please use the following file-naming convention when you save your Microsoft Word document. Your file should be named and saved to your computer’s hard drive using your:

[student number]_[assessment]_[assessment number].doc

For example:

12345678_XXXXX_01.docx

When you are ready to submit your assessments, upload the files in OpenSpace using the Assessment Upload links in the relevant Study Period of your course.

Your assessment must be uploaded in Microsoft Word format to allow feedback to be written in the Office use only – Assessors feedback box provided under each question. Assessments that are submitted in a different format will be deemed as “Submission Error” & returned.

It is important that you keep a copy of all electronic assessments submitted to Open Colleges.

## Introduction

This assessment has been designed to allow you to provide partial evidence of your competence in the unit CPCCBC4010B Apply structural principles to residential low-rise constructions.

Note: you will need to complete additional assessments as you progress through your course to demonstrate competence for all aspects of the unit.

In completing your final assessments, you will show evidence of your ability to:

- Plan, coordinate and manage the laying of floor system.

- Plan, coordinate and manage the building of structural and non-structural wall systems.

- Plan, coordinate and manage the building of roof system.

- Plan, coordinate and manage the external wall cladding of structure.

Project 2 – Coordinating the construction for structural integrity

- Revisit the Casey plans you reviewed in Project 1 for this module. Casey plans – Sections, Elevations, Floor Plan, Site Plan.

Create your own checklist using the table below to assist the construction manager/foreman to coordinate and check the building.

Your checklist will include the following structural systems, and list what needs to be checked for quality and compliance with the NCC and Australian Standards:

- footings

- floor system

- structural and non-structural wall systems

- roof system

- external wall cladding of structure

- fencing

Hint: the following Australian Standard will help with this assessment: AS 1684 – Non – Cyclonic

| Structural system | List the relevant NCC and Australian Standards that systems must comply with | List the structural components to be checked | List the quality checks needed to ensure construction is compliant and in line with accepted industry principles. |
| --- | --- | --- | --- |
| Footings e.g. bored pier footings columns or stumps concrete slab floors piers and beams. | E.g. NCC/BCA Volume 2, 3.2.2.3 Foundations for footings and slabs, AS 2870-2011 Residential slabs and footings or AS 2159-2009 Piling - Design and installation. | E. g. Excavation for footings, including thickenings for slabs and pads must be clean cut with vertical sides, wherever possible. Concrete must have a strength at 28 days of not less than 20 Mpa. Minimum laps for reinforcement. | E.g. check site classification, wind classification, placement and size of reinforcement. adherence to AS 3600:2018 Concrete structures. |
| Floor e.g. compressed sheet wet area flooring engineered floor joists fitted (cut-in) floors platform floor construction sheet flooring tongue and groove flooring. |  |  |  |
| Structural walls and non-structural walls e.g. - timber - steel frame - laminated Veneer Lumber (LVL) |  |  |  |
| Roofing e.g. box gable dual pitch roof Dutch gable Dutch hip gable end hip and valley north light skillion. |  |  |  |
| - Fencing Metal Fencing Timber Fencing Wire Fencing Brush fence Swimming Pool Fencing |  |  |  |
| External wall cladding e.g. brick veneer coatings over base materials Colorbond or zincalume sheeting fibre cement or compressed wood panelling weatherboards |  |  |  |

Office use only – Assessors feedback

- In the box that follows, complete 2-D, freehand, cross-section drawings showing 2 structural wall types of your choosing for a low-rise building. This task is primarily assessing your knowledge of the NCC, Australian Standards, structural components and quality checks.

You must show the following items in your drawing:

- Structural walls

- Relevant NCC and Australian Standards

- Structural components e.g. bracing components

- Quality checks needed for compliance

2 Wall structure: 2-D, freehand, cross-section drawing

Office use only – Assessors feedback

Items to submit as evidence for this assessment:

| - Part a), completion of checklist |  |
| --- | --- |
| - Part b), freehand drawing - roofing structure |  |